## template
Mezz 3.0 NIC Survey Template
- Template V3 - 2017/3/29 Change in Blue
Company name: | To be filled
Date: | To be filled
Does the information provided in Survey considered confidential? | To be Filled (Yes/No)
Is it okay for OCP Mezz subgroup to share the data in this survey in OCP mailing-list, OCP Wiki or OCP workshop, with your company name masked? | To be Filled (Yes/No)
The purpose of the survey is to understand the boundary of the Mezz 3.0 potential adopters. - It is recommended, but not required, for the participant of the survey to turn in the survey in OCP Mezz subgroup mailing-list, which is in public domain. - If the participant wishes to turn in the survey with confidential information that cannot be shared with public when the information is associated with the participant, please send to jia.ning@ocproject.net
| 90/10 | 50/50 confidences
| Very typical and Important use cases | Stretch goals and use cases
# and Type of I/O Ports
# of major IC (ASIC, FPGA, or other)
# of DRAM
Power envelope of IC#1 (Max power at Tj max)
Max T_case of IC#1
IC#1 mechanical dimension (WxLxH)
If Applicable:
Power envelope of IC#2 (Max power at Tj max)
Max T_case of IC#2
IC#2 mechanical dimension (WxLxH)
If Applicable:
DRAM Power (each component at Tj max)
Max T_case of DRAM
If Applicable:
# of Optical modules
Optical Module power (each)
Optical Module Max Tcase
System air flow direction

## summary_masked
OCP Partner | A |  | B |  | C |  | D |  | E
| 90/10 | 50/50 confidences | 90/10 | 50/50 confidences | 90/10 | 50/50 confidences | 90/10 | 50/50 confidences | 90/10 | 50/50 confidences
| Very typical and Important use cases | Stretch goals and use cases | Very typical and Important use cases | Stretch goals and use cases | Very typical and Important use cases | Stretch goals and use cases | Very typical and Important use cases | Stretch goals and use cases | Very typical and Important use cases | Stretch goals and use cases
# and Type of I/O Ports | 2, (2xSFP/SFP28, 2xQSFP/QSFP28) | 2, (2xSFP/SFP28, 2xQSFP/QSFP28) | 1-4 ports SFP+ or Base-T, or 1-2 QSFP | 1-4 ports SFP+ or Base-T, or 1-2 QSFP | Dual port(side by side/Belly to Belly) 200Gb | Dual port(side by side/Belly to Belly) 200Gb | 2 x SFP |  | 4 *SFP , or 2*QSFP, or 4*FC, or 2*SAS
# of major IC (ASIC, FPGA, or other) | 1 | 1 | 1 or 2 (ASIC, ASIC+PHY) | 2 or 3 (ASIC + FPGA/SoC + PHY) | 1 | 2 | 2 | 2 | 2 (controller + Phy)
# of DRAM | 6 x16 | 12 x16 | 10 | 20 | N/A | N/A | 0 or 2 | 2+ | 0 or 2
Power envelope of IC#1 (Max power at Tj max) | 15 | 20 | 20 | 50 | 30 | 50 | 15 | 35 | 20 | 30
Max T_case of IC#1 | 95 | 95 | 105 | 110 | 105 | 105 | 105 |  | 105 | 105
IC#1 mechanical dimension (WxLxH) | 33x33x2.5 | 45x45x3.7 | 25x25x 3.7 | 45x45x3.7 | 31x31 | 45x45 | 27 x 27mm + IC2 (or 47 x 47mm single chip) | 35 x 35mm + IC2 (or 47 x 47mm single chip) | 25x25
If Applicable: | N/A | N/A | Phy | Phy | N/A | N/A
Power envelope of IC#2 (Max power at Tj max) | N/A | N/A | 3W per port | 3W per port, total <50W | N/A | N/A | 20W |  | 10w
Max T_case of IC#2 | N/A | N/A | 105 | 110 | N/A | N/A | 110 |  | 110
IC#2 mechanical dimension (WxLxH) | N/A | N/A | 19x19x~2.5 mm | 19x19~2.5 mm | N/A | N/A | 25 x 25 |  | 25x25
If Applicable: | N/A | N/A | N/A | FPGA/SoC | N/A | N/A | N/A | N/A | N/A | N/A
Power envelope of IC#2 (Max power at Tj max) | N/A | N/A | N/A | TBD, total < 50W | N/A | N/A | N/A | N/A | N/A | N/A
Max T_case of IC#2 | N/A | N/A | N/A | 105 | N/A | N/A | N/A | N/A | N/A | N/A
IC#2 mechanical dimension (WxLxH) | N/A | N/A | N/A | 25x25x3.7 | N/A | N/A | N/A | N/A | N/A | N/A
If Applicable:
DRAM Power (each component at Tj max) | 0.33 | 0.5 | 0.4 | 0.4
Max T_case of DRAM | 95 | 95 | 95 | 95 |  |  | 95C |  | 80 | 80
If Applicable:
# of Optical modules | 0 | 2 | 1-4 SFP+, or 1-2 QSFP | 1-4 SFP+, or 1-2 QSFP |  |  | 4 |  | 4
Optical Module power (each) | 0 | 1.5 | 1.5 watts (SFP+), 3.5 watts (QSFP) | 1.5 watts (SFP+), 3.5 watts (QSFP) |  |  | 1.5W each |  | 1.5W each
Optical Module Max Tcase | 0 | 70 | 70 deg C | 85 deg C |  |  | 85C | 70C | 85C
System air flow direction | Inlet | Inlet | Both | Both | Port to ASIC, 35C ambient | Port to ASIC, 35C ambient | Hot aisle operation; Air inlet to card max temp 55C | Hot aisle operation; Air inlet to card max temp 65C | front to rear , IO on rear, temp hitting IO up to 70C
Note on E9: Jia Ning: Total