## Slide 3
Multi-node platform
Network options and server management
Yan Zhao
FACEBOOK HARDWARE ENGINEER

## Slide 4
Platform definition
Open platform that hosts 4x high performance 1S Servers
Modular design for flexibility and serviceability
Aggregated single network connection
Flexible server management
Open Rack V2 and Cubby chassis

## Slide 5
Yosemite multi-node platform

## Slide 6
Mono Lake 1S server

## Slide 7
Platform architecture
BMC
OCP V2
Mezz Card
4x10G
40G
50G
Slot4
Slot3
Slot2
Slot1
1S Server
SideBand
QSFP28 DAC
12V_STBY
PCIe or 10G-KR
Management
12V_RACK
Hot-Swap
Controller

## Slide 8
4x10G KR 40G ToR 4x10G mode
BMC
OCP V2
KR Mezz
4x10G
Slot4
Slot3
Slot2
Slot1
1S Server
QSFP
10G-KR
Management
10G-KR
NIC
NIC SMBus

## Slide 9
40G Multi-host 40G ToR single port
BMC
OCP V2
Multi-Host
MIC Mezz
40G
Slot4
Slot3
Slot2
Slot1
1S Server
NC-SI or SMBus
QSFP, 4 lanes
PCIe Gen3 X2
Management

## Slide 10
50G Multi-host 100G ToR half port
BMC
OCP V2
Multi-Host
NIC Mezz
50G
Slot4
Slot3
Slot2
Slot1
1S Server
NC-SI or SMBus
QSFP28, 2 lanes
PCIe Gen3 X2
Management

## Slide 11
Server management – OpenBMC
OPEN
BMC
(1 IP Addr)
1S Server
Bridge IC
Slot1
1S Server
Bridge IC
Slot2
1S Server
Bridge IC
Slot3
1S Server
Bridge IC
Slot4
SMBus
NC-SI
OCP 2.0
Multi-Host
Mezz Card
PCIe Gen3x2
SMBus
SMBus
SMBus
QSFP28
PCIe Gen3x2
PCIe Gen3x2
PCIe Gen3x2
1 QSFP 28
DAC
(2x 25G or 4x 10G)

## Slide 12
Server management – BMC
BMC
(4 IP Addr)
1S Server
Bridge IC
Slot1
1S Server
Bridge IC
Slot2
1S Server
Bridge IC
Slot3
1S Server
Bridge IC
Slot4
SMBus
NC-SI
OCP 2.0
Multi-Host
Mezz Card
PCIe Gen3x2
SMBus
SMBus
SMBus
QSFP28
PCIe Gen3x2
PCIe Gen3x2
PCIe Gen3x2
1 QSFP 28
DAC
(2x 25G or 4x 10G)
vBMC-1
vBMC-2
vBMC-3
vBMC-4

## Slide 13
Thank you