## Slide 2
SERVER
OCP NIC Community Update February 2022 Sub-group Project wiki: https://www.opencompute.org/wiki/Server/Mezz
Mailing List: https://ocp-all.groups.io/g/OCP-NIC
NIC3.0

## Slide 3: Agenda
PCIe Gen5 SI test fixture update
Thermal Workgroup update
Regional Summits, Events, Workshop
Discussion bin list

## Slide 4: SI PCIe Gen5 test fixture update
CLB Gen5 status:
  Gerbered in January
  PCB material to arrive after CNY
CBB Gen 5 Status:
  Based on Gen4 design
  Updates to align with PCI CEM
  To be staffed
Netlist block diagram
OCP3 SFF CLB Gen5 ECAD
Calibration
CLB board 1
Impedance Coupon
CLB board 2

## Slide 5: Thermal WG: Recap of 2021
Mainly focus on the QSFP-DD thermal model
  Thermal model standardization
    Monitoring point
    Heat map
    Model with stand-alone NIC or testing chamber
TSFF thermal analysis to quantify the gain from SFF

## Slide 6: Thermal WG: 2022 Focus Area
Standardize:
  What model to use for the simulation - active cable (QDD, OSFP)
    SFP
    QSFP > 400G
    QSFP-DD
    OSFP-RHS (only limit to TSFF)
  Simplified model
Validate
  Run the test with different cables, how big the difference will be
    Same test fixture
    Same card
  Design a test fixture to help standardize the test environment (HPE)
AEC
  Get the AEC model and quantify in the NIC environment

## Slide 7: April Regional OCP Summit
Cancelled for 2022, re-scheduled to 2023

## Slide 8: Interest for events & workshops
ONUG
  New Jersey, April 27-28
  OCP Foundation asking OCP NIC sub-group interest to participate in demo of NIC solutions
  Was In-person event, May change to virtual

## Slide 9: Interest for events & workshops
Any interest for workshops organized by OCP Foundation?
May combine with other sub-groups or Server workgroup

## Slide 10: Discussion bin list
DMTF NIC self-shutdown recommendation
Elegant cable-up solution
    Zion uses 4C+ vertical connector to 4C+ saddle mount connector cable
1G NCSI/RGMII side-band support
PCIe Gen6 support
    PCI-SIG spec at rev0.7
    800G Ethernet port
    Additional side-band

## Slide 12: Gather feedback throughout the year
Provide your feedback at: https://tinyurl.com/feedback2ocpnic

## Slide 13: Thermal Test: TSFF TTF Status
Mechanical files received. Pending mechanical engineer peer review
Uses existing TTF with 3 different components to convert to TSFF.

## Slide 14: NIC self-shutdown discussion
Get DMTF & HW management feedback
Discussion 1: NIC self shutdown as optional feature?
Discussion 2: NIC self shutdown as threshold?
Discussion 3: If NIC self shutdown implemented, it shall provide mechanism to enable/disable the feature?

## Slide 15: NIC self-shutdown discussion
Discussion 1:
NIC self shutdown as optional feature
Keep as optional

## Slide 16: NIC self-shutdown discussion
Discussion 2:
NIC self shutdown as threshold
Current recommendation
Change between to “at least”
Or remove this recommendation

## Slide 17: NIC self-shutdown discussion
Discussion 3:
If NIC self shutdown implemented, it shall provide mechanism to enable/disable the feature