## Slide 2: OCP NIC Community Update for ServerWG Aug 2019 OCP NIC Subgroup Sub-group Project wiki: https://www.opencompute.org/wiki/Server/Mezz Mailing List: https://ocp-all.groups.io/g/OCP-NIC
Server Workgroup

## Slide 3: OCP NIC 3.0 0v91 Specification Release
Updated
New Doc
https://www.opencompute.org/wiki/Server/Mezz#Updated_Specification_Docs
Notes: Clinch nut for ejector latch
Additional MAC address label example

## Slide 4: OCP NIC 3.0 PCIe Gen3 and Gen4 Test Fixture
Dell-EMC developed OCP NIC 3.0 PCIe Gen3/4 test fixtures
UNH-IOL is setting up the test fixture program
  Link and Contact @ https://www.iol.unh.edu/solutions/test-tools/ocp-pcie
https://www.iol.unh.edu/solutions/test-tools/ocp-pcie

## Slide 5: PCIe Gen5 on OCP NIC 3.0
OCP NIC 3.0 has provision for PCIe Gen5 during connector selection
Current spec covers Gen4 and follows CEM spec for insertion loss budgeting after discussion.
Gen5 is supported by connector. Similar definition need to be in place. SI workgroup is working on this topic.
SI workgroup meeting held on 3rd Wednesday of the month
If you are interested to join this work, please reach out to Samit Ashdhir ashdhir@fb.com

## Slide 6: OCP NIC in OCP Experience lab @ Regional Summit
3rd community demo after the March’19 OCP Global Summit and June’19 OCP China day
6x companies are participating with representative from system, connector & NIC suppliers

## Slide 7: OCP NIC 2.0 possible revision
Follow up of July Server WG meeting
Netronome is contributing a NIC design to OCP.
It has 2x mechanical violations to existing type definition in OCP NIC 2.0 spec.
Proposal Type 5
S (typical) = 12 mm
B (max) = H (max_secondary side) = 42mm
C (max) = 11.5 mm
A (typical) = 1.57 mm

## Slide 8
Q&A