## Slide 1
OCP Design Contribution
Wiwynn Debug Card Introduction
Date: 2018/02/28
Jackie Lee
Kyan Chen
Notes: Good afternoon and good morning. I’m Bing from Wiwynn.
Before starting to explain our design packages, please let me apologize first.
I feel so sorry that last month I misunderstood the confirmation mail and missed the IC review meeting.
Today I’m very glad that we still have a chance to explain our designs of Leopard, so I invited more Wiwynn’s experts, our PM, EE engineer and ME engineer to answer every questions.
We will tried our best to show the key of design and if you have any questions about every details, please kindly let us know.
Thank you.

## Slide 2: Agenda
OCP Debug Card Specification
OCP Debug Card Design Files
OCP debug card is based on the specifications: Facebook OCP debug card with LCD spec_v1p0.pdf
http://files.opencompute.org/oc/public.php?service=files&t=6252e93d73ee2e61a94218b506658be9&download&path=//Facebook%20OCP%20debug%20card%20with%20LCD%20spec_v1p0.pdf

## Slide 3: OCP debug card Introduction
The OCP debug card is designed for multiple OCP platforms (Tioga Pass, Bryce Canyon, Lightning)
It provides a friendly user interface so that users can read system information from LCD.
5Way button
Two 7-segment LEDs for POSTCODE
LCD
Power button
Reset button
UARTSEL
USB Connector

## Slide 4
OCP Debug Card Block Diagram

## Slide 5: OCP Debug Card Design files
The following folders are included in the zip file
Schematic:
  Contain designed DSN file (Cadence OrCAD) package file
Layout file:
  Contain designed BRD file (Allegro)
BOM (Bill of material):
  An excel file shows full component information.
Mfg file (Gerber):
  Excel files show detail stack up information and gerber files for PCB manufacture.
ME CAD (3D Drawing):
Contain 3D CAD file (ProE)
SW:
Contain MCU firmware Hex file

## Slide 6: Directory - Schematic
lcd_debug_card_20171226.pdf

## Slide 7: Directory – Board File
placement.pptx
16209-sc.0815WPH1436.brd

## Slide 8: Directory – BOM
Primary and Alternate BOM of B55.00X05.S003.xls

## Slide 9: Directory – Gerber Data
Wiwynn_16209-SC_Tioga_Pass_LCD_Debug_Card_6L_Stackup_RPT_20170405.xlsx

## Slide 10: Directory – 3D Drawing

## Slide 11: Directory – Software/Firmware

## Slide 12: Software/Firmware update SOP
LCD debug card FW update SOP