## Slide 2
Dell EMC Update
Jon Lewis
Distinguished Engineer
OCP NIC 3.0

## Slide 3: Agenda
Form Factor Update
Pinout:
  Proposed changes to some pins/features
  Pinout proposal for Connector A and B
Closing thoughts

## Slide 4: Form Factor
Enumeration 14: 76 mm x 115 mm
Top-side keepout: 11.0 mm
Bottom-side keepout: 2.25 mm < x < 2.67 mm
  Really need the NIC vendors to finalize this number.
Motherboard Thickness: Agree with 0.062”, 0.076” and 0.093” +/- 10% tolerances.
  Allows a wide range of layer counts and materials to be supported.
Connector A = SFF-TA-1002 style 168 pin straddle mount connector.
Connector B  Proposing 140 pin to allow a full x16.
RJ-45 connectors should be mid-plane mounted. (3D models available)
  1x1 max top side height is 8.8 mm
  1x4 max top side height is 10.0 mm

## Slide 5
Faceplate Spec Definition
Dell prefers design similar to the design shown:
  Enables EMI solution on card.
  Enables convenient space for latching.
  Minimizes vertical stack.
Design intent and spec details:
  Top/Bottom fold over and are inserted into the chassis.
  Left/Right side EMI seal flush against rear wall.
  EMI fingers need to compress to be flush with top/bottom flanges.
  Proposal gives flexibility for different connectors.
Open Items, in order:
  Do we need to protect the entire underside of card for installation?
  Retention mechanism selection and definition (internal/external/both?)
    Options for latching could include ¼ turn retention.
  Should EMI fingers be on card or designed into chassis?
  Do we need to specify LED locations, definitions, … ?
Gasketing behind these surfaces on card
EMI fingers are beyond keep out but must compress to keep out

## Slide 6: Wider Card Consideration
For the wider board Dell EMC would like to see the board grow to the right instead of the left.
  Prefer a x16 on the additional section
  Grow width to support additional 140 pin
Top picture: Single connector instead of 2 connectors. Not sure if this is possible but would represent the minimum width for a wider card = ~127mm.
Bottom picture: Connector B = 140 pins from the current concept models for the connector suppliers. The would make the card ~138mm.

## Slide 7: Proposed Pinout Description
Power
  Repurpose the 12VAUX pins
  6 – 12V pins ~= 79W which should be sufficient (assume 1.1A per pin)
  MAIN_EN: Signal from System to NIC indicating main power available.
  PWR_GOOD: Signal from NIC to System indicating VRs are operating nominally.
    Includes all NIC rails.

## Slide 8: Pinout - continued
Deprecate CLK_REQ
Systems Management:
  One SMBus
    Includes FRU and temp sensor
  One NC-SI RBT bus (including arbitration pins)
  Add at least one “addressing” pin to enable dual OCP NIC 3.0 on the same management bus: SLOT_ID
    I2C address changed
    NC-SI package ID changed (This assumes that the maximum number of OCP NIC 3.0 cards on a bus is 2. Additional addressing pins would be necessary if that increased.)
Multi-Host: For Gen4/5 PCIe x4 ports seem to be an optimal choice
  4 x {PERST#, WAKE#, REFCLK}
    REFCLK likely still required prior to Gen 5 PCIe!
Connector B: (140 pin to include x16)
  12V pins – 5 additional pins to increase power to ~145W (nominal assuming 1.1A per pin)
  Multi-host support (4 sets of PERST#, WAKE#, REFCLK)

## Slide 9: Pinout - continued
Presence/Bifurcation
  Dual-purpose the existing 3 presence pins and add 2 pins (BIFn#).
    Allows for bidirectional bifurcation

## Slide 10: Proposed pinout

## Slide 11: Closing Thoughts
Given the current trajectory it would be nice to get together more frequently in targeted groups for discussions to close open items:
  Mechanical: Faceplate, latching mechanism, ...
  Pinout: definition of pins, new features, …
Contact information:
  Jon Lewis | Distinguished Engineer
  Dell EMC | Infrastructure Solutions Group
  Email: jon.lewis@dell.com | IM/Skype: jon_lewis@dell.com
  Office: (512) 723-0767 | Mobile: (214) 505-5924
  One Dell Way, MS RR5-31; Round Rock, TX 78682