## Slide 1
OCP Server thermal specs
Victor Avelar
Schneider Electric Data Center Science Center
Discussion for the possibilities

## Slide 2: From the Open Compute website…..
Are there design specs to achieve this?

## Slide 3: Energy Impact of Increased Server Inlet Temperature APC & Dell White Paper (WP138)
Can an OCP server spec help move the red line down & to the right?

## Slide 4: The Unexpected Impact of Raising Data Center Temperatures APC White Paper 221
Improved server thermal specs (CFM / kW) can help here